Scaffolding and Temporary Work Platforms Inspection - Example

| DESCRIPTION |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Date Started: | / / Year Month Date |  | Date Completed: |  | / / Year Month Date |  |
| Main Purpose for the Inspection: |  | Effective inspections are one of the most important incident prevention tools. An effective safety inspection program will improve worker communication, company morale and, makes a safer workplace |  |  |  |  |
| Employee Name: |  |  |  | Checked By: |  |  |

| SCAFFOLDING AND TEMPORARY WORK PLATFORM |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Number | Item Description | Acceptable | Needs Improvement | Unacceptable | N/A | Comments |
| 1 | Scaffold tags (21 days max) are in place at each access point and completed by a competent person |  |  |  |  |  |
| 2 | Work platforms are at least 1m (3 ft) wide and access ladder extends past platform access egress level |  |  |  |  |  |
| 3 | 10 cm (4 inch) toe boards provided along all sides over 3m |  |  |  |  |  |
| 4 | Access gates are self-closing & latching, with clear access / egress at the top and bottom |  |  |  |  |  |
| 5 | Equipped with standard guardrail is over 3m (10ft) above floor |  |  |  |  |  |
| 6 | Duty rating identified on scaffold tag is appropriate to the work activity |  |  |  |  |  |
| 7 | Hoarding is secured properly and is fire retardant if required |  |  |  |  |  |
| 8 | Scaffolds tied into operating structures have more frequent inspections to check for vibrational loosening |  |  |  |  |  |
| 9 | Tools and materials are secured from falling |  |  |  |  |  |
| 10 | Fall protection is worn as required by national or local standards |  |  |  |  |  |
| 11 | Planking is constructed of material adequate to environmental conditions, and securely fastened in place |  |  |  |  |  |
| 12 | Ground is level at base of ladder |  |  |  |  |  |