High Energy Control Assessment (HECA) Inspection Checklist

| General Information: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Date of Inspection: |  | / / Year Month Date |  |  |  |
| Location: |  |  |  |  |  |
| Inspector(s) Name(s): |  |  |  |  |  |
| Department/Area: |  |  |  |  |  |
| Focus Areas |  |  |  |  |  |
| 1. | Energy Identification |  | Y | N | N/A |
|  | Have all sources of high energy been identified? (e.g., electrical, hydraulic, pneumatic, thermal, mechanical, chemical)? |  |  |  |  |
|  | Are energy sources properly labeled and documented? |  |  |  |  |
|  | Are energy isolation points clearly marked? |  |  |  |  |
| 2 | Lockout/Tagout (LOTO) Procedures |  |  |  |  |
|  | Are proper LOTO procedures in place and documented? |  |  |  |  |
|  | Are employees trained on LOTO procedures? |  |  |  |  |
|  | Are locks and tags available and used appropriately? |  |  |  |  |
|  | Are LOTO devices standardized and in good condition? |  |  |  |  |
|  | Is there a verification process in place to ensure energy isolation? |  |  |  |  |
| 3 | Safety Procedures and PPE |  |  |  |  |
|  | Are standard operating procedures (SOPs) for high-energy work available and followed? |  |  |  |  |
|  | Are employees equipped with the necessary PPE (e.g., insulated gloves, face shields, flame-resistant clothing)? |  |  |  |  |
|  | Are PPE and other safety equipment inspected regularly? |  |  |  |  |
|  | Are emergency procedures clearly posted and communicated? |  |  |  |  |
| 4 | Equipment and Tool Safety |  |  |  |  |
|  | Are tools and equipment used for high-energy work in good working condition? |  |  |  |  |
|  | Are safety interlocks and emergency shutoffs functional? |  |  |  |  |
|  | Are high-energy equipment and tools properly maintained and inspected? |  |  |  |  |
|  | Are warning signs and barriers placed appropriately? |  |  |  |  |
| 5 | Training and Awareness |  |  |  |  |
|  | Have all employees working with high-energy systems received proper training? |  |  |  |  |
|  | Are refresher trainings conducted periodically? |  |  |  |  |
|  | Do employees understand the risks associated with high-energy work? |  |  |  |  |
|  | Are contractors and visitors briefed on high-energy control measures? |  |  |  |  |
| 6 | Incident Reporting and Emergency Response |  |  |  |  |
|  | Is there an incident reporting system in place? |  |  |  |  |
|  | Are incidents investigated and corrective actions implemented? |  |  |  |  |
|  | Are emergency shutdown procedures clearly defined? |  |  |  |  |
|  | Are emergency response personnel and first-aid kits readily available? |  |  |  |  |
| 7 | Compliance and Documentation |  |  |  |  |
|  | Are all regulatory requirements met? |  |  |  |  |
|  | Are compliance records and inspections documented? |  |  |  |  |
|  | Are corrective actions tracked and resolved in a timely manner? |  |  |  |  |
|  | Are audits performed regularly to evaluate energy control effectiveness? |  |  |  |  |
| Inspector Comments/Findings: ____________________________________________________________________________ ____________________________________________________________________________ |  |  |  |  |  |
| Follow-up Actions Required: ____________________________________________________________________________ ____________________________________________________________________________ |  |  |  |  |  |
| Inspector Signature: _______________________ Date: ________________ |  |  |  |  |  |